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	Hazard
	Likelihood of Risk Score
(1 = Not Likely to 5 = Very Likely)
	Seriousness of Risk Score
(1 = No Risk to 
5 = Very High)
	Control Measures

	Fire
	1
	4
	· Accommodation and kitchen buildings both covered by monitored smoke alarms
· Gas cookers to be used with adult supervision.
· Gas cookers to only be used as per manufacturers guidelines i.e. not for making toast etc

	Carbon Monoxide poisoning
	1
	4
	· Accommodation building and kitchen both covered by remotely monitored carbon monoxide alarms.
· Cooking or naked flames not permitted within accommodation
· When using gas cookers in kitchen, doors/hatches/vents to be opened for ventilation.

	Electrocution
	1
	4
	· Electrical items are subject to regular fixed wire and portable appliance testing.
· Groups bringing their own electrical appliances onto site must ensure that they have been PAT tested prior to use.

	Slips, trips and falls
	1
	3
	· User to walk in buildings and not run.
· Keep walkways clear and obstacle free.
· Brooms, mops and buckets available so that any spillages can be quickly cleaned up

	Scalds from water heater
	1
	3
	· Water temperature maintained to acceptable temperature.
· Hot water not to be used without adult supervision.

	Gas asphyxiation
	1
	4
	· Building well ventilated.
· CO2 monitor present and regularly tested.

	Water pipe burst
	1
	2
	· Water drained down in winter period when building not in use.

	Rodent infestation
	1
	3
	· Food not to be left in building.
· If evidence of rodents is found poison is used in line with safety requirements.

	Flooding
	1
	2
	· Gutters and nearby watercourses checked regularly to ensure there are no blockages.

	Disrepair of building meaning it cannot be used
	1
	4
	· Building checked monthly to ensure it is in a good state of repair.

	
	
	
	· A first aid kit is available from Reception and the Volunteer Team Accommodation.
· Groups should make their own first aid arrangements.
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