| Risk Assessment for: | Cub Field Bothy & Delph Bothy | Date of Risk Assessment | August 2026 |
| --- | --- | --- | --- |

| Hazard | Likelihood of Risk Score (1 = Not Likely to 5 = Very Likely) | Seriousness of Risk Score (1 = No Risk to 5 = Very High) | Control Measures |
| --- | --- | --- | --- |
| Fire | 1 | 4 | - Accommodation and kitchen buildings both covered by monitored smoke alarms - Gas cookers to be used with adult supervision. - Gas cookers to only be used as per manufacturers guidelines i.e. not for making toast etc |
| Carbon Monoxide poisoning | 1 | 4 | - Accommodation building and kitchen both covered by remotely monitored carbon monoxide alarms. - Cooking or naked flames not permitted within accommodation - When using gas cookers in kitchen, doors/hatches/vents to be opened for ventilation. |
| Electrocution | 1 | 4 | - Electrical items are subject to regular fixed wire and portable appliance testing. - Groups bringing their own electrical appliances onto site must ensure that they have been PAT tested prior to use. |
| Slips, trips and falls | 1 | 3 | - User to walk in buildings and not run. - Keep walkways clear and obstacle free. - Brooms, mops and buckets available so that any spillages can be quickly cleaned up |
| Scalds from water heater | 1 | 3 | - Water temperature maintained to acceptable temperature. - Hot water not to be used without adult supervision. |
| Gas asphyxiation | 1 | 4 | - Building well ventilated. - CO2 monitor present and regularly tested. |
| Water pipe burst | 1 | 2 | - Water drained down in winter period when building not in use. |
| Rodent infestation | 1 | 3 | - Food not to be left in building. - If evidence of rodents is found poison is used in line with safety requirements. |
| Flooding | 1 | 2 | - Gutters and nearby watercourses checked regularly to ensure there are no blockages. |
| Disrepair of building meaning it cannot be used | 1 | 4 | - Building checked monthly to ensure it is in a good state of repair. |
|  |  |  | - A first aid kit is available from Reception and the Volunteer Team Accommodation. - Groups should make their own first aid arrangements. |

| Completed by: | Pete Sturgess | To be reviewed one year after completion or in the event of an incident or near miss. |
| --- | --- | --- |